Measurement and Regulation

of Blood Pressure

I.  INTRODUCTION

Cardiac output (CO) is defined as the volume of blood pumped by the left ventricle in one minute.  Thus, CO is the measurable parameter that most directly reflects the delivery of blood and its contents to the tissues.  Although CO is so critical to any evaluation of circulatory system function, direct measurement requires difficult invasive techniques which are beyond the means of most teaching laboratories.  For this reason, investigators usually measure blood pressure (BP) which is directly related to CO.  From a thorough analysis of a recording of BP, one can examine each of the cardiovascular parameters that contribute to it.

II.  PHYSIOLOGY OF BLOOD PRESSURE

Blood pressure results from the pumping action of the heart against a variable peripheral resistance into an elastic reservoir.  It will vary according to relative blood volume, elasticity of the arterial system, the peripheral resistance, the heart rate, and the stroke volume.  The following equations define this relationship:

BP = Total Peripheral Resistance (TPR) X CO

where

CO (ml/min) = Heart Rate (beats/min)  X  Stroke Volume (mls/beat).

Finally

SV = End Diastolic Volume (EDV) - End Systolic Volume (ESV).

TPR is determined by the diameter of the blood vessels which, like HR and SV, is under autonomic nervous system (ANS) control.  The SV is also influenced by the venous return which depends upon the pressure difference between the arteries and the right ventricle.

The elastic reservoir (i.e., the blood vessels) converts some of the energy of cardiac contraction to stored energy.  Part of the blood ejected in systole is retained under pressure in the expanded arterial reservoir.  During diastole this blood is propelled through the arteries to maintain capillary flow throughout the cardiac cycle.  Because of this, the pressure in the arterial tree is highest during systole, but it does not fall to zero during diastole due to the elastic recoil of the vessels and closure of the aortic valve.  The amount that it falls depends on the difference between the outflow restriction due to the peripheral resistance (TPR) and the rate and volume of blood pumped into the arterial system.  The end of ejection is signalled by a notched transient in the blood pressure curve produced by sudden closure of the aortic valve.  This transient is called the dicrotic notch and is followed by the dicrotic wave.  Figure 1 illustrates a direct recording of blood pressure from a rat and an expaned view of a single pressure wave.

The blood pressure is regulated by the autonomic nervous system.  The parasympathetic branch of the ANS directly innervates very few peripheral blood vessels.  Activation of the parasympathetic system reduces blood pressure by slowing the heart and by decreasing TPR via central nervous inhibition of the tonic sympathetic output to the blood vessels.  The decrease in arterial peripheral resistance reduces the pressure differential between the arteries and the right ventricle, resulting in a decreased rate of venous return.  Therefore, CO is reduced.

Figure 1

Conversely, activation of the sympathetic division of the ANS raises BP by increasing TPR, HR, and the force of ventricular contraction.  The increased TPR and cardiac contractile force increase venous return and, consequently, CO.

There are other (humoral) factors modulating BP, but the ANS is the major regulatory input in BP control.  ANS control over blood pressure is mediated in the medulla by the carotid sinus and related reflexes.  Afferent impulses from pressure receptors in the carotid sinuses and aortic arch continuously send impulses via cranial nerves to the medulla.  These impulses, after integration, are relayed to regulate the heart via the cardiac branches of the vagus and sympathetic nerves.

Keep in mind:

Cardiac Output is affected by HR x SV, BP/TPR, and Venous Return.

Venous Return is affected by pressure differences between arteries and veins.

Stroke Volume is affected by filling time, VR, and the difference between End Diastolic Volume and End

Systolic Volume.

III.  SUMMARY OF EXPERIMENTAL PROCEDURES

You will directly record BP, the rate and relative depth of respiration, and the electrocardiogram (ECG) of an anesthetized rat.  Sections of small diameter polyethylene tubing (i.e., cannulas) will be inserted into a jugular vein (for injecting drugs) and into a carotid artery (for directly recording the BP).  See Figure 2.  A force-displacement transducer will record the rhythmical chest movements associated with inhalation and exhalation.  All data will be recorded via the computer and the WINDAQ data acquisition program.

You must be familiar with WINDAQ/200, and WINDAQ playback(described in a previous chapter).

IV.  METHODS

A.  Anesthetic

•	Urethane is injected intraperitoneally (I.P.).  The stock solution urethane is 500 mg/ml.  The initial dose is 150 mg/100 g body weight.  Hint:  weigh the animal and check the dosage chart on the wall by the hood!

•	If the animal is not anesthetized after 15-20 minutes, the intermediate dose is given.  The first intermediate dose is 3/10 of the initial dose.

•	If after another 15-20 minutes, the rat is not fully anesthetized, supplemental dose is given.  The supplemental dose if 1/10 the initial dose.

The state (depth) of anesthesia is frequently monitored by checking the pedal and corneal reflexes.  You should not proceed until the animal fails to generate a reflex response after corneal or pedal stimulation.

Figure 2

B.  Recording Equipment

Please refer to Figure 2 for a diagrammatic representation of the experimental data recording equipment.

#1	Jugular vein cannula - inserted into the jugular vein and connected to a 1 ml syringe.  Used to inject drugs i.v.

#2	Carotid artery cannula - connected to the 3-way valve on the pressure transducer.  Provides a means for directly recording the arterial BP.

#3	3-way valve - links the carotid artery cannula to the B.P. transducer and a 10 ml syringe for flushing saline through the transducer and the cannula).

#4	B.P. transducer - converts force due to BP into voltage which is amplified by the transbridge and recorded using the computer and WINDAQ.

#5	10 ml syringe - for flushing saline through the cannula and BP transducer.

#6	Force-displacement transducer - NOT SHOWN -allows direct recording of rate and relative depth of respiration via a ligature hooked to the animal's chest wall.

Before beginning the surgical procedures, the blood pressure transducer must be flushed with heparinized saline (10 units/ml) and completely filled with fluid (no air bubbles!).  This must be done before you insert the carotid cannula.  Failure to eliminate the entrapped air will result in the recording of an inaccurate pulse pressure due to the compressibility and elasticity of air.

Make certain that you can correctly manipulate the three-way stopcocks.  Remember that the lever points to the closed port.  You are ready to start the WINDAQ program.

The blood pressure transducer is connected to a transbridge channel.

Be sure to connect the transducer via the transbridge amplifier to the computer input box.  You should have two channels (one for BP and one for respiration) on the computer screen. Turn your attention to the one with the BP display and position the trace so that the 0 pressure reading is at the bottom of the screen.  Using the pressure module (get it from the TA), you must calibrate the transducer so that blood pressure can be recorded in mm Hg.  Connect the module to the instrument and, using WINDAQ, record the 0 and 100 mm Hg calibration pulses.  To do this, make sure that the transducer is sensing 0 or atmospheric pressure (i.e., is open ot the air) and start recording the data onto your data disk.  Place an event marker on the record at "0" pressure.  Use the module to simulate 100 mm Hg and mark it.  Stop recording data and note that these two event markers correspond to your high and low pressure values.  You must put these calibration values into each new data file that you open.

C.  Surgical Procedures

Secure the rat (on his back) to a surgical board.  At all times the rate and depth of respiration should be observed.

Begin the surgery by making a longitudinal midline incision in the neck region.  Lift the skin along the midline of the neck with toothed forceps.  Snip the raised skin (only the skin) with scissors to make a hole in the neck skin.  Now insert the ends of blunt scissors in the incision and spread them along the midline.  This will open the neck region and expose the underlying muscle layers.  Attach the hemostats to the flaps of skin on each side of the incision.  This will hold the skin aside and expose the underlying tissues.

With glass probes and forceps, spread open the muscle layers and expose the trachea.  Raise the trachea by placing a probe underneath it.  Now carefully snip half way through it and quickly insert a small cannula.  It may be necessary to secure the cannula by tieing thread around the trachea and the inserted portion of the cannula.  The tracheal cannula is used to facilitate respiration.  In addition, if the animal experiences respiratory failure, a respirator can easily be connected to the cannula.  Remember to adjust the inspiratory volume to expand the chest but not to burst the blood vessels of the lung.

Now expose the right jugular vein.  Never! Never! Never! probe an incision with a sharp surgical instrument!.  Use blunt dissection only!  It will take patience to separate the jugular from the connective tissue.  Once this is done, however, lift up the vein with one of your glass probes and place a ligature cephalic to the elevated portion.  In addition, place two threads under the jugular below the elevated portion.  Make certain the jugular cannula is filled with heparinized saline.  Then take a small needle, nick the vein, slide the cannula into the vein towards the heart and tie the cannula in place with two ligatures already in position.  Test drugs are injected through this cannula.

Now carefully expose the left carotid artery which lies deep in the muscle tissue and runs parallel to the trachea using, of course, blunt dissection.  Note the white vagus nerve running in the same sheath as the carotid.  Separate the artery from the nerve with the glass probe.  Now elevate the freed section of artery by placing forceps under it.  Place one 6 inch section of surgical thread under the artery cephalic to the elevated portion and three sections of thread below the elevated portion.

Now you are ready to insert the arterial cannula.  Tie off the cephalic ligature, occluding the artery.  Temporarily occlude blood flow from the heart by pulling up on the caudal most section of thread.  With the blood flow occluded in this way, use a sharp needle to make a small nick in the artery and introduce the tip of the cannula into the incision running towards the heart.  Secure the cannula in place with the remaining two ligatures already in position.  The caudal most ligature should now be released, allowing blood to flow into the cannula.

It is crucial, of course, that you are certain that the carotid cannula and the blood pressure transducer are fluid filled before you insert the cannula.

D.  General Procedures

Once the carotid cannula is securely in place, inject 0.3 ml. of heparinized saline (100 units/ml) through the cannula and into the artery.  Simply place a syringe containing the heparinized saline on the free outlet (or port) of the 3-way stopcock.  Open the valve so that the cannula and syringe are in communication and slowly inject the saline.  Change the valve lever so that the cannula and transducer are in communication.  This procedure should be repeated if blood begins to come up the cannula.  (Never allow blood to enter the transducer.  Thoroughly flush the transducer at the end of the experiment if you do.)

To record respiration, use thread to suspend a bent pin or alligator clip from the transducer.  Hook or clip the thread onto the rat's chest (subcutaneously) at the point of maximal expansion with each inhalation.  Obtain enough tension on the transducer lever and adjust the transbridge sensitivity until a respiration recording is visible on screen.

Test drugs are injected through the jugular vein cannula.  Simply fill a 1 ml syringe with the correct volume of drug solution (0.2 ml works well), remove the trapped air bubbles, and administer through the cannula.  The volume of the drug should be < 0.5 ml and should be followed by just enough saline (0.2 ml works well here too) to flush the drug through the cannula.  Warm all injection solutions to room temperature.

At the end of the experiment, inject 1.0 ml of saturated KCl solution through the cannula to euthenize the rat.

A word about your recordings:  Remember that you are not only looking for the effect of the drug or treatment on BP and respiration, but you are also looking for homeostatic mechanisms of recovery.  It is wise, therefore, to have a pre-treatment recording, a treatment recording (including the time course of the treatment), and a post-treatment of recovery recording.  All your data will be quantitative (i.e., in mm Hg)!  Be certain to note the time of injection or treatment, the drug or treatment, and the dose on your WINDAQ record.

V.  EXPERIMENTS

Before you begin the experiments, you should predict the results of each experiment by recording increase, decrease or No ∆  on your BP data sheets (located at the end of this chapter).  Consult references when necessary, but these predictions are to be completed independently, i.e., without the aid of your colleagues.  The ECVREX, Cardiolab, and MacMan simulations may be used.  After completing the exercises, record your quantitative data (e.g., HR in beats/min., respiration in breaths/min, and BP as systolic/diastolic in mm Hg).  You will be asked to explain in detail the results of selected experiments.

This exercise will require direct stimulation of the intact and severed vagus nerves.  You have already located them in the connective tissue sheath containing the carotid arteries.  They can be separated from the carotids by careful teasing with bunt probes.  A ligature loosely placed around them will make them easier to find during the experiment.

Remember that the vagi contain efferent, parasympathetic fibers releasing ACh onto the SA and AV nodes of the heart and afferent, sensory fibers from the aortic arch baroreceptors and from the stretch receptors in the lung (see Figure 4).  These stretch receptors signal inflation of the lungs and inhibit the Dorsal Respiratory Group neurons in the medulla.  Thus stimulation of an intact vagus will activate both afferent and efferent fibers.

**We recommend the following order of treatments and drug doses.  Remember that these doses are per kg of rat body weight.  You may assume that the rats weigh about 0.5 kg.**

***At this point, you should have a some idea as to the animal’s general response to each treatment. If not, STOP and try to determine what you should expect to observe. If you witness no response to a treatment, STOP !!! Is this what you expect, why or why not ? (When in doubt, ASK FOR HELP !!!)

The stock concentrations of each drug will be provided to you,by your TA. Remember, use a volume of 0.2 ml and the rat weighs 0.5 kg. Determine how you should proceed from here in making your drug dilutions.

1.	Right Vagal Stimulation: 10 pulses/sec; 25 msec duration; ~ 3 to 10 volts

2.	Cut Right Vagus and observe

3.	Stimulate cephalic (proximal) end of right vagus

4.	Stimulate caudal (distal) end of right vagus

- Ach: 0.1 - 0.5ug/kg

- Eserine: 0.05-0.2 mg/kg

- Ach: (same dose as in #5 above)

- Stimulate cephalic end of right vagus; stimulate caudal end of right vagus.

9.	Atropine: 1 mg/kg

10.	ACh: (same dose as in #5 above)

11.	Stimulate cephalic end of right vagus; stimulate caudal end of right vagus

12.	Epi:  0.5 ug/kg

Figure 4: The Vagus nerve

_______________________________________________________________

- NE: 0.5 ug/kg				20. Ephedrine: (same as in #14 above)

- Ephedrine: 0.5-2.5 mg/kg

15.	Phentolamine:  100 ug/kg

16.	Epi: 0.5 ug/kg

- NE:  0.5 ug/kg

- Ephedrine: (same as in #14 above)

- Propranolol:  100 ug/kg

- Epi: 0.5 ug/kg